Fluorescence Filters

| Typical fluorescent probe | BP Filter | DM Filter | BP Filter |
| --- | --- | --- | --- |
| Atto425 | BP430/24x | DM460 | BP480/30m |
| FAM,SYBRO Green | BP470/30x | DM505 | BP520/20m |
| HEX, VIC,JOE | BP530/20x | DM550 | BP565/20m |
| Cy3 | BP543/20x | DM565 | BP585/20m |
| Texas Red3, ROX | BP570/20x | DM590 | BP615/40m |
| Atto633 | BP620/20x | DM635 | BP655/20m |
| Cy5, Quasar8 670 | BP630/20x | DM647 | BP665/20m |
| Cy5.5, Quasar@ 705 | BP682/20x | DM702 | BP725/40m |

|  | Center Wavelength | Passband |  | Stopband |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| BP475-33 | 475±4 | 463.0-487.0 | T≥90% | 350.0-452.0 | 498.0-900.0 | ≥ODavg6 |
| BP525-20 | 525±4 | 517.5-532.5 | T≥90% | 350.0-505.0 | 545.0-900.0 | ≥ODavg6 |
| DM490 | 490±4 | 510.0-750.0 | T≥90% | 350.0-480.0 |  | R≥95% |

Honghui Guanglian Providing the fluorescent filters with high transmittance, high cutoff, and high steepness. Customized Filters are available.

Features:

High Transmittance: Guanglian providing the fluorescent filters with transmittance over 90%

High Optical Density: Guanglian providing the fluorescent filters with optical density over 6

High Steepness: Guanglian providing the dichroic mirror with high steepness.

Application:

Fluorescence instrument

PCR instrument

ELIASA

Spectrometer